ISYS Sensor list								Nov 21st 2008

F.Nocera

1. PDs

| Make | Model | Features | Material | Where | Notes | Spare min |
| --- | --- | --- | --- | --- | --- | --- |
| Hamamatsu | G8370-01 (5832-01) | 1mm TO-18 ? | InGaAs PIN | SL_D1R PMC_DR |  | 3 |
| Hamamatsu | G8370-02 | 2mm TO-5 | InGaAs PIN | Pstab SL_DT SL_D2R PMC_T ML_D | bare regular | 1 3 |
| Hamamatsu | G8370-03 | 3mm TO-5 | InGaAs PIN | IMC_DR |  | 2 |
| Advanced Photonics | SD 200-11-21-241 |  |  |  | Gen Purpose | 1 avail |
| Hamamatsu | S1223 |  | Silicon |  |  | 4 avail |
| Thales | IPL10050CW | 7mm TO-8 | Silicon | Amp_Out (Lab PD) | RS 651995 | 0 |

2. QPDs

| Make | Model | Features | Material | Where | Notes | Spare min |
| --- | --- | --- | --- | --- | --- | --- |
| Centronic | QD50-4X | High Speed 1064nm | ? | IMC (QN, QF) RFC (QN, QF) | +120V bias | 3 |
| EOS | S_050_QD S-078-QD |  | Silicon | SL (QN, QF) PMC (BMS) (QN, QF) |  | 3 |
| UDT Sensors | SPOT-15 | Case 20 special |  | IMC_EM_Tx BMS (QN, QF)? | -24V bias | 2 |
| Centronic | QDT-5T | TO-5 | Silicon | Lab QPD | RS 652027 | 0 |

3. PSDs

| Make | Model | Features | Material | Where | Notes | Spare min |
| --- | --- | --- | --- | --- | --- | --- |
| UDT Sensors | DL-20 | Duolateral | ? | SIB M0 SIB M2 SIB M5 SIB M11 |  | ? |