| Parts found | Location | Note |
| --- | --- | --- |
| DAC820D-01 | ROMA | To be confirmed |
| DAC820D-02 | LIGO 22/11/99 | To be confirmed |
| DAC820D-03 | DET LAB C25 |  |
| DAC820D-04 | PR ID slot 4 |  |
| DAC820D-05 | AIGO 4/4/02 | To be confirmed |
| DAC820D-06 | VELAB | Doesn’ work, old P&P |
| DAC820D-07 | VELAB | Doesn’ work, old P&P |
| DAC820D-08 | VELAB | Doesn’ work, old P&P |
| DAC820D-09 | DET LAB C25 |  |
| DAC820D-10 | ROMA 06/10/06 | To be confirmed |
| DAC820D-11 | PR LC slot 11 |  |
| DAC820D-12 | BS LC slot 14 |  |
| DAC820D-13 | # AVAILABLE AS SPARE | Checked 08/04/09 |
| DAC820D-14 | LIGO 05/04/00 | To be confirmed |
| DAC820D-15 | # AVAILABLE AS SPARE | Checked 08/04/09 |
| DAC820D-16 | BS LC slot 11 |  |
| DAC820D-17 | EGO OPTICS LAB |  |
| DAC820D-18 | NE QR slot4 |  |
| DAC820D-19 | OB LC slot 11 |  |
| DAC820D-20 | AVAILABLE AS SPARE |  |
| DAC820D-21 | AVAILABLE AS SPARE |  |
| DAC820D-22 | SAFE |  |
| DAC820D-23 | DET LAB C25 |  |
| DAC820D-24 | WE QR slot 9 |  |
| DAC820D-25 | IB ID slot 4 |  |
| DAC820D-26 | VELAB | Doesn’ work |
| DAC820D-27 | OB ID slot 4 |  |
| DAC820D-28 | C37 Calib slot5 |  |
| DAC820D-29 | C21 slot4 |  |
| DAC820D-30 | ## C34 align slot 20 |  |
| DAC820D-31 | WE LC slot 6 |  |
| DAC820D-32 | AVAILABLE AS SPARE |  |
| DAC820D-33 | AVAILABLE AS SPARE |  |
| DAC820D-34 | NE LC slot 14 |  |
| DAC820D-35 | NI LC slot 11 |  |
| DAC820D-36 | To be checked |  |
| DAC820D-37 | LAPP | confirmed by A. Masserot 03/06/09 |
| DAC820D-38 | NAPOLI | Confirmed by De Rosa 12/05/09 |
| DAC820D-39 | ROMA ETTORE | Confirmed |
| DAC820D-40 | VELAB | Doesn’t work |
| DAC820D-41 | C34 align slot 17 |  |
| DAC820D-42 | C34 align slot 19 | NAPOLI Confirmed by De Rosa 12/05/09 |
| DAC820D-43 | # AVAILABLE AS SPARE | Checked 11/06/09 |
| DAC820D-44 | NAPOLI | Confirmed by De Rosa 12/05/09 |
| DAC820D-45 | C23 BMS slot 5 |  |
| DAC820D-46 | WE LC slot 11 |  |
| DAC820D-47 | # AVAILABLE AS SPARE | Checked 11/06/09 |
| DAC820D-48 | WE QR slot 4 |  |
| DAC820D-49 | NI ID slot 4 |  |
| DAC820D-50 | # AVAILABLE AS SPARE | Checked 11/06/09 |
| DAC820D-51 | # IB LC slot 14 |  |
| DAC820D-52 | NE LC slot 11 |  |
| DAC820D-53 | NE ID slot 4 |  |
| DAC820D-54 | NE QR slot 15 |  |
| DAC820D-55 |  | LAPP confirmed by A. Masserot 03/06/09 |
| DAC820D-56 | NI LC slot 14 |  |
| DAC820D-57 | WI LC slot 11 |  |
| DAC820D-58 | EE room C30 slot 3 |  |
| DAC820D-59 | MC LC slot 10 |  |
| DAC820D-60a | 1500 W MS | Rinominare 60 |
| DAC820D-61 | MC ID slot 4 |  |
| DAC820D-62 | MC LC slot 13 |  |
| DAC820D-63 | ELAB | Used for virgosc |
| DAC820D-64 | VTF |  |
| DAC820D-65 | BS ID slot 4 |  |
| DAC820D-66 | WE LC slot 14 |  |
| DAC820D-67 | C34 align slot 21 |  |
| DAC820D-68 | # AVAILABLE AS SPARE | Checked 12/05/09 ex 72 |
| DAC820D-69 | C23 BMS slot 4 |  |
| DAC820D-70 | IB LC slot 11 |  |
| DAC820D-71 | WI ID slot 4 |  |
| DAC820D-72 | ## AVAILABLE AS SPARE |  |