# --->  Cablaggio Reference Mass  <---

# Reference Mass torri alte (escluso B.S.)

| Coil name | Coil position* | Pin** | Connector Number | Connector Side* |
| --- | --- | --- | --- | --- |
| ### C.RM.R | #### Right | 1 2 | 1 | Right |
| C.RM.L | Left | 3 4 | 2 | Left |
| C.RM.LL | Lateral Left | 5 6 | 3 | Left |
| C.RM.LR | Lateral Right | 7 8 | 4 | Right |
| C.RM.D | Down | 9 10 | 5 | Right |
| C.RM.U | Up | 11 12 | 6 | Left |

###### Reference Mass

###### Beam Slitter

| ##### Coil name | ##### Coil position | ##### Pin |
| --- | --- | --- |
| ### C.RM.DL | Down Left | 1 2 |
| ### C.RM.DR | Down Right | 3 4 |
| ### C.RM.UL | Up Left | 5 6 |
| ### C.RM.UR | Up Right | 7 8 |
| ### C.RM.LL | Lateral Left | 9 10 |
| ### C.RM.LR | Lateral Right | 11 12 |

## Situazione torri

| Power Recycling |  | North Input |  | North Output |  | West Input |  | West Output |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pin | Coil name | Pin | Coil name | Pin | Coil name | Pin | Coil name | Pin | Coil name |
| 1 2 | ### C.RM.R | 1 2 | ### C.RM.R | 1 2 |  | 1 2 | ### C.RM.R | 1 2 |  |
| 3 4 | C.RM.L | 3 4 | C.RM.L | 3 4 |  | 3 4 | C.RM.L | 3 4 |  |
| 5 6 | C.RM.LL | 5 6 | C.RM.LL | 5 6 |  | 5 6 | C.RM.LL | 5 6 |  |
| 7 8 | C.RM.LR | 7 8 | C.RM.LR | 7 8 |  | 7 8 | C.RM.LR | 7 8 |  |
| 9 10 | C.RM.D | 9 10 | C.RM.D | 9 10 |  | 9 10 | C.RM.D | 9 10 |  |
| 11 12 | C.RM.U | 11 12 | C.RM.U | 11 12 |  | 11 12 | C.RM.U | 11 12 |  |

*Coil position: observer situated behind the mirror and that looks towards the rear surface;

**Pin Lemo: FGG.2B.312 pin out;