## Slide 1: Virgo + Global Control
Introduction to the new operation procedures

## Slide 2: Introduction
Today, the new GC is in an intermediate state
    Some old Rio Photodiod Pr still in operation
    Gateway from Tolm Dol world for DSP
We will tell about the new features (client Cl, new servers, cpu machine location)
We will give basic recovery procedures

## Slide 3: The situation today
VME
ADC
Pr29,28,(29,70,80 replaced recently by ADC7674)
 Computing room
PC
RACK
PrITF,GcLocking, rtpc06
GcAlignment rtpc20
,
RIO
Tolm
VME
C36
 DAQ room
RIO
Tolm
Rio36a,rio38a
GC_GTW1/2
RTPC
DOL
VME
RIO
DOL
DSP
Qr34,Qr72,Qr82
VME
ADC
RIO
Tolm

## Slide 4: NEW ITF operation client
ClITFCtrl.cfg (in the locking menu)
ITF critical
monitoring
Packet
configuration
rtpc20
rio36a
rtpc06
rtpc20
rtpc06
rtpc06

## Slide 5: DAQ : ClDaqCollect client (part 1)
Tolmframebuilders
DAQ Critical:
FbLocking,FbAlign
Pr channels
Gc channels
rtpc20
rtpc17
rtpc14
rtpc12
rtpc13
rtpc06

## Slide 6: DAQ : ClDaqCollect client (part 2)
TolmConsumers
rtpc20
rtpc17
rtpc14
rtpc12
rtpc13
rtpc06
rtpc20
rtpc14
rtpc12
rtpc13
rtpc06
rtpc17

## Slide 7: DAQ : ClDaqData client
Tolm50Hz
DAQ Critical:
FbLocking,FbAlign
Pr channels
Gc channels
rtpc06
rtpc20
rtpc17
rtpc14
rtpc12
rtpc13

## Slide 8: Recovery procedure
Server crash
   RESTART from menu
  case : GC_GTW
    Sometimes does not restart from menu
    Check cm name (cleanup)
    Log into rio36a,rio38a
/virgoDev/Pr/v10r06/${UNAME}/Pr.exe /virgoData/Pr/GC_GTW1/2.cfg
Machine crash :
  REBOOT MANUALLY
  RESTART servers from menu

## Slide 9: HWII information
Search for a CPU machine
2) Localize cpu machine

## Slide 10: HWII server information
1) Look for CPU server list
2 ) Look for CPU
server dependencies

## Slide 11: Tolm Monitoring tools
In TolmBase :
  TolmDaqSpy.exe returns list of packets with propagation times (not easy to use)
  Use dataDisplay with SMS like:
  Daq_Lock_<RECEIVER>_<SOURCE>_Tolm_Send
   Data quality Monitor implemented with thresholds (see Global Control )

## Slide 12: Hardware intervention
Optical topology contains:
ADC7674/MxDX/TOLM-PMC/TOLM-PCI
In case of propagation delay too important, check MxDx route:
  Get sender/receiver serial from HWII and Cfg files
  Use hwdbGetMxDxRoute.exe in /virgoDev/hwiiAPI
  Locate ADC7674/MxDX/TOLM-PMC/TOLM-PCI with HWII

## Slide 13: Scenari
  All optical links (transeiver) are green and blinking  Reset MxDx
  Find a transeiver green and still
   Reboot attached RIO/RTPC
  Unable to reconfigure an ADC7674
   check optical links route
   try switch off/on ADC crate
  4) If nothing solves the problem :
  substitute transeiver/optical cables