New control and DAQ electronic

Architecture and cost estimate

T. Bouedo, A. Masserot, B. Mours, J.M. Nappa, E. Pacaud, S. Vilalte,

VIR-xxxx

November 29th 2006

…

.

Summary

1	Introduction	3

2	Architecture	3

2.1	Photodiode readout and Global Control (Pr+Gc):	3

2.2	ISYS control	4

2.3	Suspension control	4

2.4	Local readout (or fast frame builder)	5

2.5	Test facility to be installed in Annecy	5

2.6	DSP Test facility to be installed in Cascina	5

3	Budget estimate	7

3.1	Summary	7

3.2	TDBox	8

3.3	ADC board	8

3.4	TOLM	8

3.5	MUX/DeMUX	8

# Introduction

This document describes the proposed architecture of the control and DAQ electronic for Virgo+, focusing on the modules developed in Annecy in the framework of the ongoing Annecy-EGO-Pise R&D. This document includes also a preliminary cost estimate for the board production.

# Architecture

This is a summary of the proposed deployment for Virgo+ electronic. It should be noticed that this is a first version. Details of the implementation may change in the future. However, the overall number of components should remain almost unchanged.

Usually, the timing distribution scheme is not describes in the following drawing. However, the principle is to have one centralized generation system feeding one TDBox per rack (on top of each rack). The connections between all the racks are made by optical fibers.

## Photodiode readout and Global Control (Pr+Gc):

The first tests indicate that the main longitudinal control loop could run in 20 to 40 kHz range.

## ISYS control

The ISYS system should be able to run even if the global control is stopped.

## Suspension control

The interface with the existing camera will be made using the RIO and a TOLM board. However, the Gx code will be moved to the external PC, in order to have to possibility to remove later on the old camera interface and RIO.

## Local readout (or fast frame builder)

## Test facility to be installed in Annecy

The purpose of this facility is to check the integration of the system, develop the required software and test it. It includes most of the critical part of the overall configuration.

## DSP Test facility to be installed in Cascina

The purpose of this facility is to provide the regular Virgo environment for the DSP development.

# Budget estimate

This is a very first estimate of the production cost.

## Summary

|  | ADC | TOLM | TOLM-PC | Mux/Dmux | TDBox A | TDBox B | PC | DAC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pr+GC+Ali | 13 | 0 | 5 | 5 | 4 | 0 | 3 | 0 |
| Local readout |  |  |  |  |  |  |  |  |
| Central bldg A | 6 | 0 | 1 | 1 | 1 | 0 | 1 | 0 |
| Central bldg B+MC | 6 | 0 | 1 | 1 | 1 | 0 | 1 | 0 |
| Central suspensions | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 |
| West bldg | 2 | 0 | 1 | 1 | 1 | 0 | 1 | 0 |
| North Bldg | 2 | 0 | 1 | 1 | 1 | 0 | 1 | 0 |
| Suspension |  |  |  |  |  |  |  |  |
| WE | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| WI | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| NE | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| NI | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| BS | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| PR | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| SR | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| OB | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| MC | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| IB | 1 | 3 | 1 | 1 | 2 | 0 | 1 | 0 |
| Timing distribution | 0 | 0 | 1 | 0 | 0 | 6 | 1 | 0 |
| ISYS | 3 | 0 | 1 | 1 | 2 | 0 | 1 | 0 |
| Slow control benches |  |  |  |  |  |  |  |  |
| Central bldg | 6 | 1 | 1 | 1 | 1 | 0 | 1 | 2 |
| West bldg | 2 | 1 | 1 | 0 | 1 | 0 | 1 | 1 |
| North Bldg | 2 | 1 | 1 | 0 | 1 | 0 | 1 | 1 |
| Total Virgo | 52 | 33 | 25 | 22 | 33 | 6 | 23 | 4 |
| Annecy Tests | 10 | 2 | 5 | 5 | 3 | 1 | 3 | 1 |
| DSP Tests | 1 | 2 | 1 | 1 | 1 | 0 | 1 | 0 |
| CALVA? |  |  |  |  |  |  |  |  |
| Spares | 5 | 4 | 4 | 4 | 3 | 2 |  |  |
| Total | 68 | 41 | 35 | 32 | 40 | 9 | 27 | 5 |
| Price/unit (kEuros) | 1,8 | 0,9 | 0,9 | 1,6 | 0,8 | 1,2 | 1,5 | 0 |
| Price (kEuros) | 122,4 | 36,9 | 31,5 | 51,2 | 32 | 10,8 | 40,5 | 0 |
| Grand total |  |  |  |  |  |  |  | 325,3 |

This list does not include

- The price of all cables, especially fibers

- The price of 2 GPS receiver

However, there is some hope that part these items could be purchase using the end of the R&D budget line

This estimate is a guess based on list of components. The real offer may differ.

## TDBox

The TDBox is based on an exhaustive list of components provided by JM Nappa.

## ADC board

| ADC Board (16 channels) |  |
| --- | --- |
| ADC chip | 400 |
| FPGA | 300 |
| Optic | 100 |
| AA Filters (mezannines) | 300 |
| Various components | 100 |
| PCB | 200 |
| Front pannels/connectors | 250 |
| Cabling | 150 |
| Total | 1800 |

## TOLM

| TOLM |  |
| --- | --- |
| Optic | 200 |
| FPGA | 300 |
| Various components | 100 |
| PCB | 100 |
| Cabling | 200 |
| Total | 900 |

## MUX/DeMUX

| MUX/DeMUX |  |
| --- | --- |
| Optic (6x70) | 400 |
| FPGA | 700 |
| PCB | 200 |
| Front panel | 100 |
| Cabling | 200 |
| Total | 1600 |